## Use Cases
Field | Primary Use Case | Sorting | Function | Description | Problem Statement / Rationale | Benefit Categories | Examples | Comments/Notes | Infrastructure Requirements | Data Characteristics | Hardware Requirement | Software Requirement
Def. --> |  | 1 = Near, 2 = Mid, 3 = Far | Short and to the point, befitting the requirement for this use case | Description summarizing who does what for this use case (Function) | What problem does the Use Case address? Why is the operation being performed? (i.e. Short explanation of the why behind the requirement) | Select from list of high level benefits | What is an example implementation of this use case? | Additional information and comments by the LFE, use case submitters and the community. | What grid and market infrastructure must be in place to achieve this use case? | What resolution, duration, and type of data are necessary to perform for this function? | Specify SAM Hardware requirements to achieve this use case | Specify SAM Software requirements required to achieve this use case
|  |  | Mandatory | Mandatory | Mandatory | Mandatory | Mandatory | Optional | Optional | Optional | Optional | Optional
| Basic Metrology | 1.1 | Record Time Series Data | Collect high-resolution V & I data at the edge | The edge is data rich, but most of that information is discarded before it can be used by customers, utilities or researchers. | Visibility | Local voltage and current time series stored on meter or customer premises |  |  |  |  | In case of High-resolution, do we have HW min. requirements?
Legacy | Basic Metrology | 1.1 | Simple Billing | Measure total energy consumption over billing cycle. | Charge for electricity supply (This is a long solved problem, except non-technical losses). | N/A - this is the oldest meter use case | Every meter even installed does this simple function. | Many parties are reluctant to adopt change, and the old model of using meters only for measuring total energy consumption requires the lowest possible hardware upgrade cost.
| Data Access | 1.2 | Pull Measurement Data | When requested by DSO, measurement data from local storage at customer premises (meter/gateway) can be uploaded into the DSOs backend system. | Operator wants to pull stored data from measurement infrastructure at customer premises on an as needed basis, leaving them neither blind to local conditions nor buried by (and billed for) high resolution uploads. | Visibility | 1. More detailed analysis based on an event at customer premises can be done to fulfill [SO goals](./definition-DSO-goals.md#dso-goals). 2. More detailed analysis based on a general grid exceptions or shortcomings can be done, included forecasted, to fulfill [SO goals](./definition-DSO-goals.md#dso-goals). 3. Privacy is maximized, since unnecessary data retrieval is avoided, to fulfill [regulation on privacy](./definition-DSO-goals.md#fulfill-regulation-on-privacy). 4. Data is only pulled if there is a clear legal, operational reason, or customer approval to do so. To fulfill [regulation on privacy](./definition-DSO-goals.md#fulfill-regulation-on-privacy). | "1. More detailed analysis based on an event at customer premises can be done to fulfill [SO goals](./definition-DSO-goals.md#dso-goals). 2. More detailed analysis based on a general grid exceptions or shortcomings can be done, included forecasted, to fulfill [SO goals](./definition-DSO-goals.md#dso-goals). 3. Privacy is maximized, since unnecessary data retrieval is avoided, to fulfill [regulation on privacy](./definition-DSO-goals.md#fulfill-regulation-on-privacy). 4. Data is only pulled if there is a clear legal, operational reason, or customer approval to do so. To fulfill [regulation on privacy](./definition-DSO-goals.md#fulfill-regulation-on-privacy)." |  |  |  | When we pull data, how can we determine what data is relevant to pull? If we pull everything then it is not according to customer approval. Maybe we need something like a 'delta' toggle or role-based access management.
| Data Access | 1.2 | Customer Limit Awareness | Provide the information to customers about their momentary and near future maximum safe transport capacity limits. (average consumption and average generation power limit per 5 minutes or better). to have a trusted continuously running assessment if customers remain within their up-to-date limits and receive an alert if violation is approached or detected. | Limited distribution infrastructure in some locations limits customer usage (or safe transport capacity), but customers have no real time awareness of how close to that limit they are approach or when the threshold is crossed. | Visibility, Efficiency | Increased energy transport in some locations could increase outages and voltage problems, which both customer and utility would like to avoid Enabling customers to optimally use their LS-connection (Ned) DSO can offer each customer maximal energy transport without increase on outages and voltage problems. DSO can offer each customer to offer temporary non-used energy transport rights to grid-connectivity-determined other customers. DSO can keep track on the quality of my T-prognosis to my TSO. DSO enable market entities to optimize their services and exploit new services within the safe limits. (e.g. in combination of (2) ) DSO can avoid peak-loads, so that I can optimize my investments in the reinforcement of the grid and have positive effects on makeability. | where does the data come from, how is it presented, are there soft or hard thresholds? DSO would like to limit power consumption, resellers would like to do so, customers would like to avoid overstepping and facing large penalties. (Industrial customers are often already aware, so this targets residential) -- make distinction between contractual and physical capacity. Examples of imposed contractual limit and physical limits... but this case doesn't need to include imposing one. More than other rows, this would require consideration of a customer user interface. External display? Web Service/App? Provided as part of utility interface? |  |  | Low and High for awareness vs response. | Do we foresee AI to do this or is it more reactive? Algorithm to predict hitting the limit.
| Data Access | 1.2 | CLI Data Access | Bypass (or preempt) graphical user interface to remotely access device. | Utilities want to interact with the data coming from the SGC on day 1, that is not ready for display in the UI provided (but will be) | Visibility | The sophisticated customer or "do it yourself guys" want to be able to connect their home energy management system to data from SAM |  |  |  | Like an USB cable or GPIO pin?
| Data Access | 1.2 | Data Access | Provide real time and historical local system data to data scientists with permission. | Data scientists want to access data from the SGC that can be downloaded or integrated via API or other data visualization mechanism | Visibility |  |  |  |  | Local and Cloud Storage Size?
| Data Access | 1.2 | Opt In Data Access | Utility, customers, and 3rd parties can opt in to sharing select data with one another securely | Data collection and communication risks sharing sensitive information or privacy violations. All parties reluctant to capture information for fear of leaking it to other parties, depriving themselves of the associated insight. | Privacy, Security, Visibility |  |  |  |  | Local and Cloud Storage Size?
| Disaggregation | 2.1 | DER Detection | Identify customer DER adoption based on utility visibility | Residential solar adoption is widespread and difficult for a utility to estimate, as are heat pumps, EV's etc. | Visibility, Efficiency | Utility can avoid surprises and operate based on true system conditions, even just on utility side of the meter. | Sizing of PV installations? Compare to registered scale. Particularly useful if "two panel" installations creep up with additional installations.
| Disaggregation | 2.2 | Behind the Meter Load Awareness | Residential user can locally track their energy usage across appliances without sharing that private data with others. | Residential customer is unable to track their own energy usage among the large fleet of devices in their home. | Visibility, Security |  | Interoperable communication with residential loads (subset of DER) household appliances like dishwasher, water heater, etc. OR sensing those loads. Private within local network -- locally processed but not transmitted. Some home energy management systems already gather some of this data for their apps and corporations. Is load disaggregation valuable to a customer?
| Disaggregation | 2.2 | Unify metering/ Multi-utility Metering | Measure all utility relevant customer events with one device. | Utilities do not know residential PV production without a second meter at the PV, and similarly need additional meters to track EV charging events and demand response. | Visibility, Efficiency | Through Electricity Meter Hub, communicate with Water meter, Gas Meter, etc.
| DER Management | 2.3 | EVs as a Grid Asset | SAM coordinates local vehicle-to-grid exports to meet system-wide needs | If not properly designed and managed, electric vehicle charging will create new challenges for the electric power system and distribution system operators - Voltage, frequency, harmonics issues - Causing congestion on the grid that will impact grid investments, utility rate structures Utilities and owners lack proper tool to help utilize EVs as assets - Improve energy resilience for owners - Provide grid services/V2G - Create value for owners | Reliability | EVs are aggregated to participate in a real-time power market to deliver ancillary services (ex. Load balancing) | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgical Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill, |  | V2G; do we communicate reserved/spare available power and the vehicle will respond to this or is it a more sophisticated interface?
| DER Management | 2.3 | Curtail Behind the Meter Solar | PV solar inverters begin and end curtailment when requested by utility operation from control center, and verify whether and when this command has been completed. (Direct a solar inverter to curtail DER production in excess of real time system demand.) | When electricity supply exceeds demand, system operator cannot curtail distributed solar, or when they can, it's not easy to restore once a crisis is averted so that customer and utility resume the benefits of distributed generation. Supply and demand must match at all times, but during peak solar production, supply can exceed demand, undermining system stability. Renewable integration is then overly limited most of the time to prevent disaster during these net production peaks. | Resilience, Reliability, Visibility, Congestion Management, Security | When electricity supply exceeds demand, system operator needs to curtail distributed solar, then easily restore it once a crisis is averted so that customer and utility resume the benefits of distributed generation. | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgical Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
| DER Management | 2.3 | EV Charge Management | Coordinate EV charging and discharging to minimize customers residential electricity bill | EV adoption can boost peak customer usage and drive bills if not intentionally. Managed | Affordability, Visibility
Clustering many related use cases | DER Management | 2.3 | DER Optimization | Coordinate DER fleet for DER participation in the market and a contribution to system performance | Utilities do not have the tools to comply with FERC 2222 in the United States, nor other requirements on DER participation in the grid and wholesale markets. | Efficiency, Security, Visibility, Affordability | Home Energy Management system can be a DER, connecting to the SAM and subscribing to its services. DSO would not be responsible for those connected DER devices | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgical Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
| DER Management | 2.3 | Reduce peaker Usage | Coordinate DERS and Load to minimize the burning of fossil fuels to serve peak load | The power plants turned on in times of highest energy demand are usually the least efficient fossil fuel plants, costly in dollars and harmful emissions. | Affordability, Reliability, sustainability
| DER Management | 2.3 | Neighborhood Energy Transactions | Customers within the distribution system can transact with one another for real and reactive power in real time based on DER availability | No peer to peer information or coordination is possible despite widespread DER adoption. | Visibility, Efficiency, Resilience | Better utilization of existing and emerging DERS. Entrepreneurial "prosumer" customers can meet local needs. | One approach for settlement would include sharing individual meter data with the group to verify actions triggered by neighbor agreements. Settlement mechanism? To be determined. |  | Settlement Resolution? Intraday or day ahead?
| DER Management | 2.3 | DERs for Economy | Coordinate DER to maximize value at local and bulk system level | While bulk system assets are dispatched to serve the load at lowest cost, distribution system assets have not been operated with this information or precision, increasing costs and complexity. | Visibility, Affordability, Complexity Management, Congestion Reduction | Follow a price signal or regularly run an optimization including available supply and demand locally. | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgical Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill, |  | Do we need a definition of this 'signal'? And which protocol do we use to 'instruct' DER the start/Stop?
| Outage Management | 2.3 | Surgical Load Shedding | Avoid outages to the many by strategically dropping service to a few loads. SAM could carry out the shedding, as well as identify loads of lowest expected harm to shed. | Supply and demand must match at all times, but during peak solar production, supply can exceed demand, undermining system stability. When load is unserved or "shed" in order to maintain service everywhere else, selection of which load to shed is imprecise. | Equity, Affordability, Reliability | If some customers face outages more often than others, SAIFI falls apart as well as equity. Use SAM to distribute shed load minimally and equitably | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgical Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill, Also more course load shedding: "Preferential Groups" .... region by region... meter by meter... load by load... Priorities among loads for individual users can be very personal, and they might like a say in which of their loads would be shared. Transparency in existing load shedding policies, plus increased granularity and automation could improve fairness of required shedding.
| Outage Management | 2.3 | DERs for Stability | Coordinate DER to maintain inherently stable state, minimizing need for interconnection studies | System wide stability must be maintained to avoid widespread outage, and the time consuming and inflexible system wide studies to ensure stability slow down good changes to the system and only promise to become more of a blocker to DER and renewable adoption over time as complexity increases for both the system and interconnection request queues. | Security, Reliability, Visibility, Resilience, Congestion Reduction, Complexity Management, |  | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgical Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill, |  |  | How do we coordinate this? Using a power switch or do we need a external display to inform the customer? | Software signal. Actuation in edge device.
| Predictive Forecasting | 3.1 | Short term forecasting of customer netload | Produce local nodel netload forecasting based on historical measurements
| Predictive Forecasting | 3.1 | Short term forecasting of local PV | Project local nodel PV forecasting based on historical data
| Predictive Forecasting | 3.1 | Predict Anomaly | Predict safety risks, equipment failures, and outages based on local conditions and a locally trained predictive model. | Utilities lack the ability to predict grid outages ahead of time | Resilience, Visibility, Security |  |  |  |  | Do we need specific hardware to train the local model? High local processing requirement
| Predictive Forecasting | 3.1 | Classify Anomaly | Given unusual grid conditions, determine whether current Identify singular local issues, and Utilities lack the ability to quickly choose an optimal response to unusual grid conditions. | Utilities lack the ability to understand the cause or causes of problems. | Visibility, | Fault location Safety risk identification
| DER Validation | 4.1 | DER Accounting | Validate DER performance, share DER information with customers, detect contract violations | Everyone lacks tools to validate performance of deployed DERS | Affordability, Visibility |  | Somehow we need to know the expected (contracted) behavior of the DER and then monitor according to this contract (evaluate profile contract with profile realized.
| DER Validation | 4.1 | DER Validation | Utilities and customers can monitor and validate DER performance. | Utilities lack tools to validate DER performance and share DER information with their customers | Visibility |  | Performance as peak supply / capacity? Number of panels / inverter?
Legacy | Customer Engagement | 5.1 | Energy Usage Displayed to Customer |  |  |  |  | Netherlands (LED on device), not visible on public charging pole, screen prone to failure
| Customer Engagement | 5.1 | Programmable Alarms and Events | User can program what edge conditions they want to be alerted to. | Utilities, customers and third parties wish to know about specific conditions in real time, without a way to learn them. | Reliability, Visibility, Security | Send an email in case a certain threshold level is met | See also: customer limit awareness, Algorithmic responses.
| Customer Engagement | 5.1 | Climate Aware Usage | Notify customers in real time when conservation would reduce fossil fuel emissions (and when the climate cost of increased usage would be minimal) | Customers want to minimize their carbon footprint but do not have enough information to modify their behavior consistent with these goals. | Sustainability, Visibility
| Customer Engagement | 5.1 | Dynamic Incentives | Notify customers in real time when conservation would reduce outage risk and the utility's costs and their own, as well as when increased consumption carries minimal cost or risk. | Aggregators and utilities do not have the capability to target specific customers in real-time to spur enhanced demand response during extreme grid events. Real-time notifications can let customers know that they can be contributing more flexible demand as grid operators face capacity constraints. | Affordability, Efficiency, Reliability | Utilities maintain radially and reduce outage risk, DER owners/aggregators ideally receive more compensation from increased demand response, wholesale market operators achieve resource adequacy. California IOUs have piloted this with companies like Sense and Ohm Connect.
| Customer Engagement | 5.1 | Support Flexible Tariffs | Track real time supply and demand to frequently keep rates incentivizing optimal dispatch | Electricity demand is price-inelastic without real time information | Affordability, Reliability, Visibility | Time of Use (ToU) tariffs. Utility billing accuracy and ease, better match utility costs to customer prices. | This WG should define a format for formal flexible tariffs, including granularity, precision, timeframe. | This data needs a source and format
| Correct Records | 6.1 | Correct Records | Update utility models for distribution system | Distribution system, unlike higher voltage transmission grids, is riddled with missing and erroneous data. | Visibility, Efficiency | Do we have examples? Max load / Imax? Phase detection? | Is the idea that the SAM gateway would play a role in correcting the records beyond providing the necessary (missing) data to a backend system?
| Grid awareness | 7.1 | Record local power quality |  |  |  | EMI detection, identify confounding devices (like rogue uncertified pool pump which caused abnormally high meter readings.)
| Grid awareness | 7.1 | Get Local Grid Conditions | Provide utility real time information about local grid conditions. | Utilities are flying blind at the edge | Visibility | Allow remote monitoring of system devices and conditions or send requests for action based on locally detected conditions |  | Real-time information. How much data, continuous or only in 'targeted' areas? Is it possible to do this with available communication modules?
| Grid awareness | 7.1 | Identify Security Breach | Identify when access or control is exercised in excess of user permissions. | Non-technical losses increase the cost of electricity for taxpayers and ratepayers. Data remains critical even as it is shared more among customers, utilities, and third parties with consent. | Security, Visibility | Cybersecurity - data integrity, user access, also fraud detection.
| Grid awareness | 7.1 | Detect unbalanced phase loads | SAM can provide an overview of the general unbalance between the connected phases (Current/ Voltage asymmetry) | It is possible the a whole street or apartments will apply heavy load on the same phase (for example PV panels on phase one and EV all on phase 3). This will have huge impact on load of the cables/lines (efficiency) and the current transformer. Also for a consumer it is better to use your own produced energy to charge your car. | Reliability, Efficiency | Two options: 1) customer will receive a 'report' where is clearly visible that there is an unbalance in load/supply 2) Utility will read-out unbalance 'factor' and will write a letter to customer to 'advice' them to let a professional looking into the load problem. | The SAM can provide an overview in case the customer will login to the SAM meter.
| Grid awareness | 7.1 | Problem Spotting | Detect safety risks, equipment failure, and anomalous power quality in real time, earth fault, downed line | Utilities lack the ability to detect and analyze grid voltage anomalies | Resilience, Visibility | See also: EMI detection rogue pool pump/Power quality example |  |  |  | Do we need a supportive signal in the grid or is this possible with high frequent (MHz) data? Specify frequency of data measurement to fulfill this (MHz)
| Grid Awareness | 7.1 | Estimate Hosting Capacity | Update predictive models to recommend hosting capacity thresholds based on local conditions and events | Utilities do not have an accurate, time-varying estimate of their system's ability to host additional DERs | Visibility, Sustainability
| Grid Awareness | 7.1 | Track and Inform Hosting Capacity | Provide data for planning decisions, then track local DER hosting capacity when values depend on local conditions. | Utilities do not have an accurate, time-varying estimate of their system's ability to host additional DERs | Visibility?
| Grid Topology | 7.1 | Meter to Transformer Topology | Estimate meter to transformer assignments based on meter time series data. | Utilities do not know the groupings of meters under their secondary transformers with confidence | Visibility | Phase or line detection? |  |  |  | Do we need a supportive signal in the grid or is this possible with high frequent (MHz) data?
| Remote Management | 7.2 | Neighbor Health | Send distress signal on behalf of neighboring SAM who stop checking in, covering device health case for communication or total device failure | Despite connectivity and close proximity, deployed hardware cannot be tasked with looking out for neighboring hardware or providing redundancy of increasingly sophisticated models and operations. | Reliability |  |  | A meshed network option build-in to it?
| Remote Management | 7.2 | Neighbor Monitoring | Mirror neighboring device status and metadata to add redundancy. | A high performing device will be missed all the more if it fails, and no redundancy exists among meters on the same circuit. | Reliability |  |  | A meshed network option build-in to it?
Legacy | Remote Management | 8.1 | Remote Connection Management
| Remote Management | 8.1 | Remote Dis/Connect | Utility can remotely turn service on/off. | Sending trucks to turn on or off retail electricity service is expensive and lags the events triggering the action. | Efficiency | Allows utility to efficiently initiate and deactivate service for new and departing customers
Consumption Data | Not a use case | 1.6 | Assess customer load-supply profile | Use edge functionality to determine to which standard category (profile) a specific household is behaving. Only communicate the profile to the head-end system and not all data | DSO's are now using outdated customer load/supply profiles. We could determine this in 'cloud or data lake' but this will lead to privacy unwanted scenarios or have data traffic. | Visibility | Analyze a customer profile and assign profile number, (e.g. 15 would mean the location has PV panels and maximum supply of 8kW-10kW) | Detect when the location is 'drifting' from this assessed profile and re-do the assessment. Currently done by utility planners for industrial/big customers or broadly pulling. Allow more privacy sensitive profile tracking by characterizing locally and reporting the category as useful. Tariff could depend on profile, user could bring this profile to 3rd party (e.g. aggregator). |  | Proposed: 5 min values would be enough. Profile could be created with any intra day resolution, high resolution would allow a "dynamics" characterization, courses would allow binning by peak load.
Local Grid Monitoring | Not a use case | 3.1 | Congestion Management | Congestion Management through local coordination, outage avoidance, load balancing in local area | Circuit has limited capacity that existing and new customers need to share. Neighboring metered customers on same circuit have complimentary needs, timing, usage that could improve efficiencies if considered together. | Efficiency, Visibility | Business districts, Smart Energy Hubs (under development in Netherlands among industrial neighbors… sharing energy, other resources like compressed air) , see also: customer load/supply profiles | See other DER cases. - Consider opt in or obligatory participation
Outage Management | Not a use case | 3.2 | Outage Avoidance | Identify risks and anomalies so that preventative steps can be taken to stop outages from happening | Unexpected conditions in the distribution system, including faults, cause customers to lose power | Reliability, Resilience, Visibility, Security |  | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgical Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
Outage Management | Not a use case | 3.2 | Outage Recovery | Mitigate the impact of outages by minimizing the number of customers affected by the length of the outage | Outage recovery is time consuming and difficult to optimize in the distribution system | Reliability, Resilience, Visibility, Security | Black start? Kind of safe mode?
Gateway OS | Not a use case | 1.1 | Device Remote Update | Utility must be able to access and update devices remotely. The utility needs the ability to manage the installed SAM SGCs in the field and update installed SGCs quickly over-the-air | Over a long lifetime, device needs new functionality and security updates to keep pace with rapidly advancing industry, and prolong the lifetime of the deployed SAM | Efficiency, Security | OTA firmware update.
Gateway OS | Not a use case | 1.2 | Device Health | Monitor device health and send distress signal: note temperature, missing data metrology or output data, software compatibility. | Hardware fails unexpectedly and silently. | Reliability |  |  |  |  | Do we need super cap to do this?
Gateway OS | Not a use case | 1.3 | Remote Management | Remotely manage and update the firmware, operating system, services and software systems on the meter. | Maintain a fleet of sophisticated edge devices (SAM) securely and efficiently. Keep all software current | Efficiency, Security, Visibility | Updates allow edge device to meet changing needs long after installation. Remote management saves lots of time and money in dispatching teams to the field, and improves the efficiency of the fleet of devices which will contain less diverse releases.
Gateway OS | Not a use case | 2.1 | DER connect | 2 way communication between meter and collocated energy resources. | Utilities lack an affordable, scalable way to locally communicate with DERs | Efficiency, Visibility | Monitor EV connection and disconnection with super advanced meter. Coordinate DERS with super advanced meter. | for example Open ADR |  |  |  | Which standard protocols will we support or do we need to create?
Note on F4: ====== ID#AAAA1NNPoKk Neu, MJ (Marcel) (2023-07-17 19:25:58) Discarded as in 'only used for average values' or do we mean something else?
Note on H17: ====== ID#AAAA1NNPoKo Neu, MJ (Marcel) (2023-07-17 19:25:58) So SAM can act as a HEMs (then Utility responsible) and in case there is a separate HEMs available the utility is not responsible?

## Definitions
Distributed Energy Resources: Controllable/Participating load or generator in the distribution system
Dispatch
Operator

## Benefit Categories
Benefit Category
Visibility
Efficiency
Affordability
Security
Reliability
Sustainability
Equity
Resilience
Privacy
Participation
Congestion Reduction
Complexity Management